Feedback from Industrial Designer, Jason Germany

Overall Concept:

Feels nice in use for smooth movement around the patient

Overall size & height:

Size and height are good / appropriate

Depth:

Current depth is good / appropriate

Footprint:

Reduce footprint where possible to accommodate space in the OR

Cord Management Mechanisms

- Plate + ball clip-on to keep cords emerging from the bags in place at top edge (might be similar to pingpong balls separator at the bottom cart)

- Set cord depth/diameter and adjust length or one size fits all that’s gonna lock as we pull out (prevents slipping)

- Dish-like holder (on the top flat surface) to organize/place and clip cords

- Hooks at edges (for cords end placement)

- Snap-on or stopper

Adding enclosure to cover the pulley and pingpong balls

Confirm number and types of cords/instruments